## expert_plan
EXPERT PANEL — Figure planning (Record ROI frame integrity)
Primary claim | Saved JPEGs are distinct, consecutive acquisition frames (no frame_id gaps).
Audience | Manuscript supplement / lab handoff — must read in <60 s.
Panel | Chart type | Content & rationale
A — Bug vs fix | Clustered columns | Unique frame content (1 vs 50) alongside wall time (16 vs 53 ms). Shows pre-fix wrote duplicates fast; post-fix matches real ~1 kfps pacing.
B — frame_id continuity | Scatter + straight line | User UI run: saved index vs GenICam frame_id (82338–82387). Unit slope = consecutive frames; gold standard for reviewers.
C — Stress matrix | Columns (log Y) + loss overlay | Frames saved 50→20 000 across ROIs; red series = gaps+dropped+overflow (all 0). Log scale needed because frame count spans 3 decades.
D — Throughput parity | Grouped columns | Effective save fps vs acquisition fps per test. Matching heights → pipeline keeps pace.
Rejected | Pie chart of pass/fail — trivial (100% pass); no information density.
Rejected | Single bar ‘0 drops’ — hides scale of stress tests.
Rejected | MD5 hash table — too low-level for main figure (keep in methods text).

## summary
Record ROI — frame integrity summary
Daheng MER2 · RIO_DAHENG_CPP · Aug 2026
Question | Does Record ROI lose frames under lab conditions?
Answer | No — 0 gaps, 0 dropped, 0 queue overflow in all real tests (Aug 2026).
Evidence | manifest.csv frame_id sequence; UI status ‘no gaps’; disk verification.
Fix applied | wait_frame_array + C++ FIFO queue (libdaheng_grabber.so rebuild).
User validation | 50/50 @ 200×200, 20 µs — frame_id 82338–82387, ~1 075 fps effective save.
Stress limit tested | Up to 20 000 frames @ 104×80 (~2 087 fps) — still zero loss.
Not tested today | Strobe-lit frames, hardware trigger, droplet pipeline (planned next).

## before_after
Condition | Files written | Unique frames | Wall time (ms) | Notes
Pre-fix (bug) | 50 | 1 | 16 | 50 identical JPEGs (1 MD5); ~16 ms total
Post-fix (script) | 50 | 50 | 46 | 50 unique frame_ids; ~46 ms
User UI (today) | 50 | 50 | 53 | frame_id 82338–82387; manifest.csv

## tests
Test | Category | ROI | Frames | Acq fps | Save fps | frame_id first | frame_id last | Gaps | Dropped | Overflow | Wall ms | Notes
User UI | Manuscript ROI | 200×200 | 50 | 1054 | 1075 | 82338 | 82387 | 0 | 0 | 0 | 53 | Exposure 20 µs; folder 20260819_163902
Post-fix verify | Manuscript ROI | 200×200 | 50 | 1054 | 1063 | 287 | 336 | 0 | 0 | 0 | 46 | Automated script after wait_frame fix
Stress 10× | Manuscript ROI | 200×200 | 500 | 1055 | 1055 | 296 | 795 | 0 | 0 | 0 | 473
Stress 100× | Manuscript ROI | 200×200 | 5000 | 1055 | 1055 | 268 | 5267 | 0 | 0 | 0 | 4800 | ~5 s wall time
Max fps short | Max fps ROI | 104×80 | 500 | 2090 | 2090 | 584 | 1083 | 0 | 0 | 0 | 239 | MER2 sweep ~2 088 fps @ 104×80
Max fps 10k | Max fps ROI | 104×80 | 10000 | 2087 | 2087 | 585 | 10584 | 0 | 0 | 0 | 4800
Max fps 20k | Max fps ROI | 104×80 | 20000 | 2087 | 2087 | 589 | 20588 | 0 | 0 | 0 | 9600 | Upper bound tested on host
Full sensor | Full FOV | 1440×1080 | 500 | 227 | 227 | 64 | 563 | 0 | 0 | 0 | 876 | Large JPEG; low fps

## chart_data (hidden)
Condition | Unique frames | Wall ms | Files | Index | frame_id | Short label | Frames | Total loss | Acq fps | Save fps
Pre-fix (bug) | 1 | 16 | 50 | 0 | 82338 | UI 50 | 1054 | 53 | 1075 | 82338
Post-fix (script) | 50 | 46 | 50 | 1 | 82339 | Fix 50 | 1054 | 46 | 1063 | 287
User UI (today) | 50 | 53 | 50 | 2 | 82340 | 200² 500 | 1055 | 473 | 1055 | 296
|  |  |  | 3 | 82341 | 200² 5k | 1055 | 4800 | 1055 | 268
|  |  |  | 4 | 82342 | 104×80 500 | 2090 | 239 | 2090 | 584
|  |  |  | 5 | 82343 | 104×80 10k | 2087 | 4800 | 2087 | 585
|  |  |  | 6 | 82344 | 104×80 20k | 2087 | 9600 | 2087 | 589
|  |  |  | 7 | 82345 | Full 500 | 227 | 876 | 227 | 64
|  |  |  | 8 | 82346
|  |  |  | 9 | 82347
|  |  |  | 10 | 82348
|  |  |  | 11 | 82349
|  |  |  | 12 | 82350
|  |  |  | 13 | 82351
|  |  |  | 14 | 82352
|  |  |  | 15 | 82353
|  |  |  | 16 | 82354
|  |  |  | 17 | 82355
|  |  |  | 18 | 82356
|  |  |  | 19 | 82357
|  |  |  | 20 | 82358
|  |  |  | 21 | 82359
|  |  |  | 22 | 82360
|  |  |  | 23 | 82361
|  |  |  | 24 | 82362
|  |  |  | 25 | 82363
|  |  |  | 26 | 82364
|  |  |  | 27 | 82365
|  |  |  | 28 | 82366
|  |  |  | 29 | 82367
|  |  |  | 30 | 82368
|  |  |  | 31 | 82369
|  |  |  | 32 | 82370
|  |  |  | 33 | 82371
|  |  |  | 34 | 82372
|  |  |  | 35 | 82373
|  |  |  | 36 | 82374
|  |  |  | 37 | 82375
|  |  |  | 38 | 82376
|  |  |  | 39 | 82377
|  |  |  | 40 | 82378
|  |  |  | 41 | 82379
|  |  |  | 42 | 82380
|  |  |  | 43 | 82381
|  |  |  | 44 | 82382
|  |  |  | 45 | 82383
|  |  |  | 46 | 82384
|  |  |  | 47 | 82385
|  |  |  | 48 | 82386
|  |  |  | 49 | 82387

## figure
Figure — Record ROI frame integrity (expert panel layout)
Panel A: bug vs fix · Panel B: frame_id continuity (user run) · Panel C: stress scale, zero loss
Caption: Real lab tests only (no artificial save delay). manifest.csv logs frame_id and gap_before per file.

## figure_throughput
Panel D — Acquisition vs save throughput
Matching bar pairs confirm the FIFO queue drains as fast as frames arrive (200×200 ~1 kfps; 104×80 ~2 kfps).